## Common
SiteID | PD2070 | Final Site Configuration
Candidate | B |  | Cell# | TRX# | Cell# | TRX# | Cell# |  | Cell# |  |  | Cell# | Cell#
Document_Type | IRFC |  | LTE_900 | GSM_900 | UMTS_900 | GSM_1800 | LTE_1800 | NR_1800 | UMTS_2100 | LTE_2100 | NR_2100 | LTE_2600 | NR_3500
DateTime | 2021-07-07 | Sector 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 0
SiteName | Rogoshko_Shose_Telenor_coll0 | Sector 2 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 0
SiteAddress | unknown Plovdiv, Rogoshko shose | Sector 3 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 0
SiteOwner | GLOBUL | Sector 4
ColocationType | AFS/Telenor | Sector 5
Other Operator ID |  | Sector 6
Latitude | 42.1625 | Sector 7
Longitude | 24.7697 | Sector 8
StructureType | RT | Sector 9
StructureHeight | 18
InstallationType | None
BSC | BSC3
RNC
CabinetType
RF_Engineer | Krasimir Naydenov
Mobile | +359878500413
Email | krasimir.naydenov@vivacom.bg

## Sector 1
PD2070 |  | Sector 1
| Antenna # | 1 | [5 empty] | 2 |  |  |  | 3
Pole New
| Azimuth New | 20
| AntennaType New | ASI4518R10v06 | ASI4518R10v06 | ASI4518R10v06 | ASI4518R10v06 | ASI4518R10v06 | ASI4518R10v06
| AntennaMount New | STK
| AGL New [m] | 18
| ARTL New | 0
| MechanicalTilt New | 0
| Antenna port # | 1-2 | 3-4 | 5-6 | 7-8 | 9-10 | 11-12 | 1-2 | 3-4 | 5-6 | 7-8 | 1-2 | 3-4 | 5-6
| PortName | 0 1-2: LTy2; 0 3-4: LBy1; 0 5-6: Lr1; 0 7-8: RBy3; 0 9-10: RTy4; 0 11-12: Rr2
| BandRange New | 0 1-2: 1695-2690; 0 3-4: 1695-2690; 0 5-6: 690-960; 0 7-8: 1695-2690; 0 9-10: 1695-2690; 0 11-12: 690-960
Port occupancy
Collocation party
| Technology | 0 1-2: Free; 0 3-4: L; 0 5-6: GL; 0 7-8: L; 0 9-10: Free; 0 11-12: Free
| Etilt New | 0 3-4: 6; 0 5-6: 6; 0 7-8: 6
RET New
| Feeder_Type New | 0 3-4: 1/2; 0 5-6: 1/2; 0 7-8: 1/2
| Feeder_Length New | 0 3-4: 10; 0 5-6: 12; 0 7-8: 10
| RRU_Type New | 0 3-4: 5304AC 5513AC; 0 7-8: 5304DB 5513DB
| RRU_Total # New | 0 3-4: 2; 0 5-6: 0; 0 7-8: 2
Chain New
RxDiv Cable New
| GSM_TRX New | 0 1-2: 0; 0 3-4: 0; 0 5-6: 1; 0 7-8: 0; 0 9-10: 0; 0 11-12: 0
| GSM_Pwr_per_TRX New, dBm | 0 3-4: 0; 0 5-6: 46; 0 7-8: 0
| UMTS_TRX New | 0 1-2: 0; 0 3-4: 0; 0 5-6: 0; 0 7-8: 0; 0 9-10: 0; 0 11-12: 0
| UMTS_Pwr_per_TRX New, dBm | 0 3-4: 0; 0 5-6: 0; 0 7-8: 0
| LTE_TRX New | 0 1-2: 0; 0 3-4: 3; 0 5-6: 1; 0 7-8: 3; 0 9-10: 0; 0 11-12: 0
| LTE_Pwr_per_TRX New, dBm | 0 3-4: 47.74; 0 5-6: 45.97; 0 7-8: 47.74
TMA Type New | bar: 0 5-6
| Combiner_Splitter New | 0 3-4: ACOMD2L13v06; 0 5-6: None; 0 7-8: ACOMD2L13v06
| Sec_Combiner_Splitter New | 0 3-4: None; 0 5-6: None; 0 7-8: None
| Antenna_IN_Total_Power, dBm | 0 1-2: 0; 0 3-4: 50.3734; 0 5-6: 47.9459; 0 7-8: 50.3734; 0 9-10: 0; 0 11-12: 0
Request_Remarks

## Sector 2
PD2070 |  | Sector 2
| Antenna # | 1 | [5 empty] | 2 |  |  |  | 3
Pole New
| Azimuth New | 100
| AntennaType New | ASI4518R10v06 | ASI4518R10v06 | ASI4518R10v06 | ASI4518R10v06 | ASI4518R10v06 | ASI4518R10v06
| AntennaMount New | STK
| AGL New [m] | 18
| ARTL New | 0
| MechanicalTilt New | 0
| Antenna port # | 1-2 | 3-4 | 5-6 | 7-8 | 9-10 | 11-12 | 1-2 | 3-4 | 5-6 | 7-8 | 1-2 | 3-4 | 5-6
| PortName | 0 1-2: LTy2; 0 3-4: LBy1; 0 5-6: Lr1; 0 7-8: RBy3; 0 9-10: RTy4; 0 11-12: Rr2
| BandRange New | 0 1-2: 1695-2690; 0 3-4: 1695-2690; 0 5-6: 690-960; 0 7-8: 1695-2690; 0 9-10: 1695-2690; 0 11-12: 690-960
Port occupancy
Collocation party
| Technology | 0 1-2: Free; 0 3-4: L; 0 5-6: GL; 0 7-8: L; 0 9-10: Free; 0 11-12: Free
| Etilt New | 0 3-4: 6; 0 5-6: 6; 0 7-8: 6
RET New
| Feeder_Type New | 0 3-4: 1/2; 0 5-6: 1/2; 0 7-8: 1/2
| Feeder_Length New | 0 3-4: 10; 0 5-6: 12; 0 7-8: 10
| RRU_Type New | 0 3-4: 5513AC 5304AC; 0 7-8: 5513DB 5304DB
| RRU_Total # New | 0 3-4: 2; 0 5-6: 0; 0 7-8: 2
Chain New
RxDiv Cable New
| GSM_TRX New | 0 1-2: 0; 0 3-4: 0; 0 5-6: 1; 0 7-8: 0; 0 9-10: 0; 0 11-12: 0
| GSM_Pwr_per_TRX New, dBm | 0 3-4: 0; 0 5-6: 46; 0 7-8: 0
| UMTS_TRX New | 0 1-2: 0; 0 3-4: 0; 0 5-6: 0; 0 7-8: 0; 0 9-10: 0; 0 11-12: 0
| UMTS_Pwr_per_TRX New, dBm | 0 3-4: 0; 0 5-6: 0; 0 7-8: 0
| LTE_TRX New | 0 1-2: 0; 0 3-4: 3; 0 5-6: 1; 0 7-8: 3; 0 9-10: 0; 0 11-12: 0
| LTE_Pwr_per_TRX New, dBm | 0 3-4: 47.74; 0 5-6: 45.97; 0 7-8: 47.74
TMA Type New | bar: 0 5-6
| Combiner_Splitter New | 0 3-4: ACOMD2L13v06; 0 5-6: None; 0 7-8: ACOMD2L13v06
| Sec_Combiner_Splitter New | 0 3-4: None; 0 5-6: None; 0 7-8: None
| Antenna_IN_Total_Power, dBm | 0 1-2: 0; 0 3-4: 50.3734; 0 5-6: 47.9459; 0 7-8: 50.3734; 0 9-10: 0; 0 11-12: 0
Request_Remarks

## Sector 3
PD2070 |  | Sector 3
| Antenna # | 1 | [5 empty] | 2 |  |  |  | 3
Pole New
| Azimuth New | 220
| AntennaType New | ASI4518R10v06 | ASI4518R10v06 | ASI4518R10v06 | ASI4518R10v06 | ASI4518R10v06 | ASI4518R10v06
| AntennaMount New | STK
| AGL New [m] | 18
| ARTL New | 0
| MechanicalTilt New | 0
| Antenna port # | 1-2 | 3-4 | 5-6 | 7-8 | 9-10 | 11-12 | 1-2 | 3-4 | 5-6 | 7-8 | 1-2 | 3-4 | 5-6
| PortName | 0 1-2: LTy2; 0 3-4: LBy1; 0 5-6: Lr1; 0 7-8: RBy3; 0 9-10: RTy4; 0 11-12: Rr2
| BandRange New | 0 1-2: 1695-2690; 0 3-4: 1695-2690; 0 5-6: 690-960; 0 7-8: 1695-2690; 0 9-10: 1695-2690; 0 11-12: 690-960
Port occupancy
Collocation party
| Technology | 0 1-2: Free; 0 3-4: L; 0 5-6: GL; 0 7-8: L; 0 9-10: Free; 0 11-12: Free
| Etilt New | 0 3-4: 6; 0 5-6: 6; 0 7-8: 6
RET New
| Feeder_Type New | 0 3-4: 1/2; 0 5-6: 1/2; 0 7-8: 1/2
| Feeder_Length New | 0 3-4: 10; 0 5-6: 12; 0 7-8: 10
| RRU_Type New | 0 3-4: 5513AC 5304AC; 0 7-8: 5513DB 5304DB
| RRU_Total # New | 0 3-4: 2; 0 5-6: 0; 0 7-8: 2
Chain New
RxDiv Cable New
| GSM_TRX New | 0 1-2: 0; 0 3-4: 0; 0 5-6: 1; 0 7-8: 0; 0 9-10: 0; 0 11-12: 0
| GSM_Pwr_per_TRX New, dBm | 0 3-4: 0; 0 5-6: 46; 0 7-8: 0
| UMTS_TRX New | 0 1-2: 0; 0 3-4: 0; 0 5-6: 0; 0 7-8: 0; 0 9-10: 0; 0 11-12: 0
| UMTS_Pwr_per_TRX New, dBm | 0 3-4: 0; 0 5-6: 0; 0 7-8: 0
| LTE_TRX New | 0 1-2: 0; 0 3-4: 3; 0 5-6: 1; 0 7-8: 3; 0 9-10: 0; 0 11-12: 0
| LTE_Pwr_per_TRX New, dBm | 0 3-4: 47.74; 0 5-6: 45.97; 0 7-8: 47.74
TMA Type New | bar: 0 5-6
| Combiner_Splitter New | 0 3-4: ACOMD2L13v06; 0 5-6: None; 0 7-8: ACOMD2L13v06
| Sec_Combiner_Splitter New | 0 3-4: None; 0 5-6: None; 0 7-8: None
| Antenna_IN_Total_Power, dBm | 0 1-2: 0; 0 3-4: 50.3734; 0 5-6: 47.9459; 0 7-8: 50.3734; 0 9-10: 0; 0 11-12: 0
Request_Remarks

## Sector 4 (hidden)
Sector 4
| Antenna # | 1 | [5 empty] | 2 |  |  |  | 3
Pole New
Azimuth New
AntennaType New
AntennaMount New
AGL New [m]
ARTL New
MechanicalTilt New
| Antenna port # | 1-2 | 3-4 | 5-6 | 7-8 | 9-10 | 11-12 | 1-2 | 3-4 | 5-6 | 7-8 | 1-2 | 3-4 | 5-6
PortName
BandRange New
Port occupancy
Collocation party
Technology
Etilt New
RET New
Feeder_Type New
Feeder_Length New
RRU_Type New
RRU_Total # New
Chain New
RxDiv Cable New
GSM_TRX New
GSM_Pwr_per_TRX New, dBm
UMTS_TRX New
UMTS_Pwr_per_TRX New, dBm
LTE_TRX New
LTE_Pwr_per_TRX New, dBm
TMA Type New
Combiner_Splitter New
Sec_Combiner_Splitter New
Antenna_IN_Total_Power, dBm
Request_Remarks

## Sector 5 (hidden)
Sector 5
| Antenna # | 1 | [5 empty] | 2 |  |  |  | 3
Pole New
Azimuth New
AntennaType New
AntennaMount New
AGL New [m]
ARTL New
MechanicalTilt New
| Antenna port # | 1-2 | 3-4 | 5-6 | 7-8 | 9-10 | 11-12 | 1-2 | 3-4 | 5-6 | 7-8 | 1-2 | 3-4 | 5-6
PortName
BandRange New
Port occupancy
Collocation party
Technology
Etilt New
RET New
Feeder_Type New
Feeder_Length New
RRU_Type New
RRU_Total # New
Chain New
RxDiv Cable New
GSM_TRX New
GSM_Pwr_per_TRX New, dBm
UMTS_TRX New
UMTS_Pwr_per_TRX New, dBm
LTE_TRX New
LTE_Pwr_per_TRX New, dBm
TMA Type New
Combiner_Splitter New
Sec_Combiner_Splitter New
Antenna_IN_Total_Power, dBm
Request_Remarks

## Sector 6 (hidden)
Sector 6
| Antenna # | 1 | [5 empty] | 2 |  |  |  | 3
Pole New
Azimuth New
AntennaType New
AntennaMount New
AGL New [m]
ARTL New
MechanicalTilt New
| Antenna port # | 1-2 | 3-4 | 5-6 | 7-8 | 9-10 | 11-12 | 1-2 | 3-4 | 5-6 | 7-8 | 1-2 | 3-4 | 5-6
PortName
BandRange New
Port occupancy
Collocation party
Technology
Etilt New
RET New
Feeder_Type New
Feeder_Length New
RRU_Type New
RRU_Total # New
Chain New
RxDiv Cable New
GSM_TRX New
GSM_Pwr_per_TRX New, dBm
UMTS_TRX New
UMTS_Pwr_per_TRX New, dBm
LTE_TRX New
LTE_Pwr_per_TRX New, dBm
TMA Type New
Combiner_Splitter New
Sec_Combiner_Splitter New
Antenna_IN_Total_Power, dBm
Request_Remarks

## Sector 7 (hidden)
Sector 7
| Antenna # | 1 | [5 empty] | 2 |  |  |  | 3
Pole New
Azimuth New
AntennaType New
AntennaMount New
AGL New [m]
ARTL New
MechanicalTilt New
| Antenna port # | 1-2 | 3-4 | 5-6 | 7-8 | 9-10 | 11-12 | 1-2 | 3-4 | 5-6 | 7-8 | 1-2 | 3-4 | 5-6
PortName
BandRange New
Port occupancy
Collocation party
Technology
Etilt New
RET New
Feeder_Type New
Feeder_Length New
RRU_Type New
RRU_Total # New
Chain New
RxDiv Cable New
GSM_TRX New
GSM_Pwr_per_TRX New, dBm
UMTS_TRX New
UMTS_Pwr_per_TRX New, dBm
LTE_TRX New
LTE_Pwr_per_TRX New, dBm
TMA Type New
Combiner_Splitter New
Sec_Combiner_Splitter New
Antenna_IN_Total_Power, dBm
Request_Remarks

## Sector 8 (hidden)
Sector 8
| Antenna # | 1 | [5 empty] | 2 |  |  |  | 3
Pole New
Azimuth New
AntennaType New
AntennaMount New
AGL New [m]
ARTL New
MechanicalTilt New
| Antenna port # | 1-2 | 3-4 | 5-6 | 7-8 | 9-10 | 11-12 | 1-2 | 3-4 | 5-6 | 7-8 | 1-2 | 3-4 | 5-6
PortName
BandRange New
Port occupancy
Collocation party
Technology
Etilt New
RET New
Feeder_Type New
Feeder_Length New
RRU_Type New
RRU_Total # New
Chain New
RxDiv Cable New
GSM_TRX New
GSM_Pwr_per_TRX New, dBm
UMTS_TRX New
UMTS_Pwr_per_TRX New, dBm
LTE_TRX New
LTE_Pwr_per_TRX New, dBm
TMA Type New
Combiner_Splitter New
Sec_Combiner_Splitter New
Antenna_IN_Total_Power, dBm
Request_Remarks

## Sector 9 (hidden)
Sector 9
| Antenna # | 1 | [5 empty] | 2 |  |  |  | 3
Pole New
Azimuth New
AntennaType New
AntennaMount New
AGL New [m]
ARTL New
MechanicalTilt New
| Antenna port # | 1-2 | 3-4 | 5-6 | 7-8 | 9-10 | 11-12 | 1-2 | 3-4 | 5-6 | 7-8 | 1-2 | 3-4 | 5-6
PortName
BandRange New
Port occupancy
Collocation party
Technology
Etilt New
RET New
Feeder_Type New
Feeder_Length New
RRU_Type New
RRU_Total # New
Chain New
RxDiv Cable New
GSM_TRX New
GSM_Pwr_per_TRX New, dBm
UMTS_TRX New
UMTS_Pwr_per_TRX New, dBm
LTE_TRX New
LTE_Pwr_per_TRX New, dBm
TMA Type New
Combiner_Splitter New
Sec_Combiner_Splitter New
Antenna_IN_Total_Power, dBm
Request_Remarks

## DataValidation (hidden)
CabinetType
APM30
OMB
TMC
VIRTUAL
pico 3911B
BTS3911E