## Common
SiteID | VT5504 | Final Site Configuration
Candidate | A |  | Cell# | TRX# | Cell# | TRX# | Cell# |  | Cell# |  |  | Cell# | Cell#
Document_Type | IRFC |  | LTE_900 | GSM_900 | UMTS_900 | GSM_1800 | LTE_1800 | NR_1800 | UMTS_2100 | LTE_2100 | NR_2100 | LTE_2600 | NR_3500
DateTime | 2021-08-16 | Sector 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SiteName | Voynezha | Sector 2 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SiteAddress | Voynezha village Voynezha TVRS, near Voynezha village, Veliko Tarnovo municipality | Sector 3 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SiteOwner | NURTS | Sector 4
ColocationType | conventional/NURTS | Sector 5
Other Operator ID |  | Sector 6
Latitude | 42.8822 | Sector 7
Longitude | 25.6839 | Sector 8
StructureType | GF | Sector 9
StructureHeight | 29.0
BSC | BSC2
RNC | RNC2
CabinetType
RF_Engineer | Steliana Lyubcheva
Mobile | 0878500866
Email | steliana.staleva@vivacom.bg

## Sector 1
VT5504 |  | Sector 1
| Antenna # | 1 | [5 empty] | 2 |  |  |  | 3
Pole New
| Azimuth New | 60
| AntennaType New | ADU4517R6v06 | ADU4517R6v06
| AntennaMount New | STK
| AGL New [m] | 29
| ARTL New | 0
| MechanicalTilt New | -2
| Antenna port # | 1-2 | 3-4 | 5-6 | 7-8 | 9-10 | 11-12 | 1-2 | 3-4 | 5-6 | 7-8 | 1-2 | 3-4 | 5-6
| PortName | -2 1-2: Lr1; -2 3-4: Rr2
| BandRange New | -2 1-2: 690-960; -2 3-4: 690-960
Port occupancy
Collocation party
| Technology | -2 1-2: Free; -2 3-4: GUL
| Etilt New | -2 3-4: 3
RET New
| Feeder_Type New | -2 3-4: 1/2
| Feeder_Length New | -2 3-4: 6
| RRU_Type New | -2 3-4: 5519et-9
RRU_Total # New | bar: -2 3-4
Chain New
RxDiv Cable New
| GSM_TRX New | -2 1-2: 0; -2 3-4: 1
| GSM_Pwr_per_TRX New, dBm | -2 3-4: 46
| UMTS_TRX New | -2 1-2: 0; -2 3-4: 1
| UMTS_Pwr_per_TRX New, dBm | -2 3-4: 46
| LTE_TRX New | -2 1-2: 0; -2 3-4: 1
| LTE_Pwr_per_TRX New, dBm | -2 3-4: 45.97
TMA Type New | bar: -2 3-4
| Combiner_Splitter New | -2 3-4: None
| Sec_Combiner_Splitter New | -2 3-4: None
| Antenna_IN_Total_Power, dBm | -2 1-2: 0; -2 3-4: 50.132
Request_Remarks

## Sector 2
VT5504 |  | Sector 2
| Antenna # | 1 | [5 empty] | 2 |  |  |  | 3
Pole New
| Azimuth New | 140
| AntennaType New | ADU4517R6v06 | ADU4517R6v06
| AntennaMount New | STK
| AGL New [m] | 29
| ARTL New | 0
| MechanicalTilt New | 0
| Antenna port # | 1-2 | 3-4 | 5-6 | 7-8 | 9-10 | 11-12 | 1-2 | 3-4 | 5-6 | 7-8 | 1-2 | 3-4 | 5-6
| PortName | 0 1-2: Lr1; 0 3-4: Rr2
| BandRange New | 0 1-2: 690-960; 0 3-4: 690-960
Port occupancy
Collocation party
| Technology | 0 1-2: Free; 0 3-4: GUL
Etilt New | bar: 0 3-4
RET New
| Feeder_Type New | 0 3-4: 1/2
| Feeder_Length New | 0 3-4: 6
| RRU_Type New | 0 3-4: 5519et-9
RRU_Total # New | bar: 0 3-4
Chain New
RxDiv Cable New
| GSM_TRX New | 0 1-2: 0; 0 3-4: 1
| GSM_Pwr_per_TRX New, dBm | 0 3-4: 46
| UMTS_TRX New | 0 1-2: 0; 0 3-4: 1
| UMTS_Pwr_per_TRX New, dBm | 0 3-4: 46
| LTE_TRX New | 0 1-2: 0; 0 3-4: 1
| LTE_Pwr_per_TRX New, dBm | 0 3-4: 45.97
TMA Type New | bar: 0 3-4
| Combiner_Splitter New | 0 3-4: None
| Sec_Combiner_Splitter New | 0 3-4: None
| Antenna_IN_Total_Power, dBm | 0 1-2: 0; 0 3-4: 50.132
Request_Remarks

## Sector 3
VT5504 |  | Sector 3
| Antenna # | 1 | [5 empty] | 2 |  |  |  | 3
Pole New
| Azimuth New | 270
| AntennaType New | ADU4517R6v06 | ADU4517R6v06
| AntennaMount New | STK
| AGL New [m] | 29
| ARTL New | 0
| MechanicalTilt New | 0
| Antenna port # | 1-2 | 3-4 | 5-6 | 7-8 | 9-10 | 11-12 | 1-2 | 3-4 | 5-6 | 7-8 | 1-2 | 3-4 | 5-6
| PortName | 0 1-2: Lr1; 0 3-4: Rr2
| BandRange New | 0 1-2: 690-960; 0 3-4: 690-960
Port occupancy
Collocation party
| Technology | 0 1-2: Free; 0 3-4: GUL
| Etilt New | 0 3-4: 3
RET New
| Feeder_Type New | 0 3-4: 1/2
| Feeder_Length New | 0 3-4: 6
| RRU_Type New | 0 3-4: 5519et-9
RRU_Total # New | bar: 0 3-4
Chain New
RxDiv Cable New
| GSM_TRX New | 0 1-2: 0; 0 3-4: 1
| GSM_Pwr_per_TRX New, dBm | 0 3-4: 46
| UMTS_TRX New | 0 1-2: 0; 0 3-4: 1
| UMTS_Pwr_per_TRX New, dBm | 0 3-4: 46
| LTE_TRX New | 0 1-2: 0; 0 3-4: 1
| LTE_Pwr_per_TRX New, dBm | 0 3-4: 45.97
TMA Type New | bar: 0 3-4
| Combiner_Splitter New | 0 3-4: None
| Sec_Combiner_Splitter New | 0 3-4: None
| Antenna_IN_Total_Power, dBm | 0 1-2: 0; 0 3-4: 50.132
Request_Remarks

## Sector 4 (hidden)
Sector 4
| Antenna # | 1 | [5 empty] | 2 |  |  |  | 3
Pole New
Azimuth New
AntennaType New
AntennaMount New
AGL New [m]
ARTL New
MechanicalTilt New
| Antenna port # | 1-2 | 3-4 | 5-6 | 7-8 | 9-10 | 11-12 | 1-2 | 3-4 | 5-6 | 7-8 | 1-2 | 3-4 | 5-6
PortName
BandRange New
Port occupancy
Collocation party
Technology
Etilt New
RET New
Feeder_Type New
Feeder_Length New
RRU_Type New
RRU_Total # New
Chain New
RxDiv Cable New
GSM_TRX New
GSM_Pwr_per_TRX New, dBm
UMTS_TRX New
UMTS_Pwr_per_TRX New, dBm
LTE_TRX New
LTE_Pwr_per_TRX New, dBm
TMA Type New
Combiner_Splitter New
Sec_Combiner_Splitter New
Antenna_IN_Total_Power, dBm
Request_Remarks

## Sector 5 (hidden)
Sector 5
| Antenna # | 1 | [5 empty] | 2 |  |  |  | 3
Pole New
Azimuth New
AntennaType New
AntennaMount New
AGL New [m]
ARTL New
MechanicalTilt New
| Antenna port # | 1-2 | 3-4 | 5-6 | 7-8 | 9-10 | 11-12 | 1-2 | 3-4 | 5-6 | 7-8 | 1-2 | 3-4 | 5-6
PortName
BandRange New
Port occupancy
Collocation party
Technology
Etilt New
RET New
Feeder_Type New
Feeder_Length New
RRU_Type New
RRU_Total # New
Chain New
RxDiv Cable New
GSM_TRX New
GSM_Pwr_per_TRX New, dBm
UMTS_TRX New
UMTS_Pwr_per_TRX New, dBm
LTE_TRX New
LTE_Pwr_per_TRX New, dBm
TMA Type New
Combiner_Splitter New
Sec_Combiner_Splitter New
Antenna_IN_Total_Power, dBm
Request_Remarks

## Sector 6 (hidden)
Sector 6
| Antenna # | 1 | [5 empty] | 2 |  |  |  | 3
Pole New
Azimuth New
AntennaType New
AntennaMount New
AGL New [m]
ARTL New
MechanicalTilt New
| Antenna port # | 1-2 | 3-4 | 5-6 | 7-8 | 9-10 | 11-12 | 1-2 | 3-4 | 5-6 | 7-8 | 1-2 | 3-4 | 5-6
PortName
BandRange New
Port occupancy
Collocation party
Technology
Etilt New
RET New
Feeder_Type New
Feeder_Length New
RRU_Type New
RRU_Total # New
Chain New
RxDiv Cable New
GSM_TRX New
GSM_Pwr_per_TRX New, dBm
UMTS_TRX New
UMTS_Pwr_per_TRX New, dBm
LTE_TRX New
LTE_Pwr_per_TRX New, dBm
TMA Type New
Combiner_Splitter New
Sec_Combiner_Splitter New
Antenna_IN_Total_Power, dBm
Request_Remarks

## Sector 7 (hidden)
Sector 7
| Antenna # | 1 | [5 empty] | 2 |  |  |  | 3
Pole New
Azimuth New
AntennaType New
AntennaMount New
AGL New [m]
ARTL New
MechanicalTilt New
| Antenna port # | 1-2 | 3-4 | 5-6 | 7-8 | 9-10 | 11-12 | 1-2 | 3-4 | 5-6 | 7-8 | 1-2 | 3-4 | 5-6
PortName
BandRange New
Port occupancy
Collocation party
Technology
Etilt New
RET New
Feeder_Type New
Feeder_Length New
RRU_Type New
RRU_Total # New
Chain New
RxDiv Cable New
GSM_TRX New
GSM_Pwr_per_TRX New, dBm
UMTS_TRX New
UMTS_Pwr_per_TRX New, dBm
LTE_TRX New
LTE_Pwr_per_TRX New, dBm
TMA Type New
Combiner_Splitter New
Sec_Combiner_Splitter New
Antenna_IN_Total_Power, dBm
Request_Remarks

## Sector 8 (hidden)
Sector 8
| Antenna # | 1 | [5 empty] | 2 |  |  |  | 3
Pole New
Azimuth New
AntennaType New
AntennaMount New
AGL New [m]
ARTL New
MechanicalTilt New
| Antenna port # | 1-2 | 3-4 | 5-6 | 7-8 | 9-10 | 11-12 | 1-2 | 3-4 | 5-6 | 7-8 | 1-2 | 3-4 | 5-6
PortName
BandRange New
Port occupancy
Collocation party
Technology
Etilt New
RET New
Feeder_Type New
Feeder_Length New
RRU_Type New
RRU_Total # New
Chain New
RxDiv Cable New
GSM_TRX New
GSM_Pwr_per_TRX New, dBm
UMTS_TRX New
UMTS_Pwr_per_TRX New, dBm
LTE_TRX New
LTE_Pwr_per_TRX New, dBm
TMA Type New
Combiner_Splitter New
Sec_Combiner_Splitter New
Antenna_IN_Total_Power, dBm
Request_Remarks

## Sector 9 (hidden)
Sector 9
| Antenna # | 1 | [5 empty] | 2 |  |  |  | 3
Pole New
Azimuth New
AntennaType New
AntennaMount New
AGL New [m]
ARTL New
MechanicalTilt New
| Antenna port # | 1-2 | 3-4 | 5-6 | 7-8 | 9-10 | 11-12 | 1-2 | 3-4 | 5-6 | 7-8 | 1-2 | 3-4 | 5-6
PortName
BandRange New
Port occupancy
Collocation party
Technology
Etilt New
RET New
Feeder_Type New
Feeder_Length New
RRU_Type New
RRU_Total # New
Chain New
RxDiv Cable New
GSM_TRX New
GSM_Pwr_per_TRX New, dBm
UMTS_TRX New
UMTS_Pwr_per_TRX New, dBm
LTE_TRX New
LTE_Pwr_per_TRX New, dBm
TMA Type New
Combiner_Splitter New
Sec_Combiner_Splitter New
Antenna_IN_Total_Power, dBm
Request_Remarks

## DataValidation (hidden)
CabinetType
APM30
OMB
TMC
VIRTUAL
pico 3911B
BTS3911E