## Common
SiteID | SO1589
Candidate | A | Final Site Configuration
Document_Type | SA |  | Cell# | TRX# | Cell# | TRX# | Cell# |  | Cell# |  |  | Cell# | Cell#
DateTime | 2021-08-13 |  | LTE_900 | GSM_900 | UMTS_900 | GSM_1800 | LTE_1800 | NR_1800 | UMTS_2100 | LTE_2100 | NR_2100 | LTE_2600 | NR_3500
ExecutionDate |  | Sector1 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0
Revision |  | Sector2 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0
SiteName | Dupnitsa_Chavdar_Voyvoda | Sector3 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0
SiteAddress | Dupnitsa Tsar Simeon Veliki str. 6 | Sector4
SiteOwner | BTC / BTK | Sector5
ColocationType | NO | Sector6
Latitude | 42.2589 | Sector7
Longitude | 23.119 | Sector8
StructureType | RT | Sector9
StructureHeight | 27.0
BSC | BSC3
RNC | RNC3
CabinetType
RF_Engineer | Sasha Hristova
Mobile | 0878500473
Email | sasha.hristova@vivacom.bg

## Sector 1
SO1589 | Sector 1
Antenna # | 1 | [5 empty] | 2 |  |  |  | 3
Azimuth Current | 20 | [5 empty] | 20
Azimuth found
Azimuth New
AntennaType current | AQU4518R25v18 | AQU4518R25v18 | AQU4518R25v18 | AQU4518R25v18 |  |  | ADU4521R0v06 | ADU4521R0v06
AntennaType found
AGL Current [m] | 27 | [5 empty] | 27
AGL Found [m]
ARTL Current | 0 | [5 empty] | 0
ARTL Found
MechanicalTilt Current | 2 | [5 empty] | 2
MechanicalTilt found
MechanicalTilt New
Antenna port # | 1-2 | 3-4 | 5-6 | 7-8 | 9-10 | 11-12 | 1-2 | 3-4 | 5-6 | 7-8 | 1-2 | 3-4 | 5-6
PortName | 1-2: Lr1; 3-4: Rr2; 5-6: Ly1; 7-8: Ly2; 1-2: Ly1; 3-4: Ry2
BandRange Current | 1-2: 690-960; 3-4: 690-960; 5-6: 1695-2690; 7-8: 1695-2690; 1-2: 1695-2690; 3-4: 1695-2690
Port occupancy
RRU_Type Current | 1-2: 5519etCD-9; 3-4: 5519etAB-9; 5-6: 5513AC-18; 7-8: 5513DB-18; 1-2: 5304AC-26; 3-4: 5304DB-26
Etilt Current | 1-2: 5; 3-4: 5; 5-6: 5; 7-8: 5; 1-2: 5; 3-4: 5
Etilt Found
Etilt New
External RET check
Feeder_Type Found
Feeder_Length Found
Jumpers length total
TMA Type Found
Combiner_Splitter Found
2nd_Combiner_Splitter Found
3rd_Combiner_Splitter Found
4th_Combiner_Splitter Found
Request_Remarks
Audit Remarks:
* Номерата на портовете на антената се определят като се гледа антената отзад от ляво на дясно според физическата подредба на портовете

## Sector 2
SO1589 | Sector 2
Antenna # | 1 | [5 empty] | 2 |  |  |  | 3
Azimuth Current | 130 | [5 empty] | 130
Azimuth found
Azimuth New
AntennaType current | AQU4518R25v18 | AQU4518R25v18 | AQU4518R25v18 | AQU4518R25v18 |  |  | ADU4521R0v06 | ADU4521R0v06
AntennaType found
AGL Current [m] | 27 | [5 empty] | 27
AGL Found [m]
ARTL Current | 0 | [5 empty] | 0
ARTL Found
MechanicalTilt Current | 1 | [5 empty] | 1
MechanicalTilt found
MechanicalTilt New
Antenna port # | 1-2 | 3-4 | 5-6 | 7-8 | 9-10 | 11-12 | 1-2 | 3-4 | 5-6 | 7-8 | 1-2 | 3-4 | 5-6
PortName | 1-2: Lr1; 3-4: Rr2; 5-6: Ly1; 7-8: Ly2; 1-2: Ly1; 3-4: Ry2
BandRange Current | 1-2: 690-960; 3-4: 690-960; 5-6: 1695-2690; 7-8: 1695-2690; 1-2: 1695-2690; 3-4: 1695-2690
Port occupancy
RRU_Type Current | 1-2: 5519etCD-9; 3-4: 5519etAB-9; 5-6: 5513AC-18; 7-8: 5513DB-18; 1-2: 5304AC-26; 3-4: 5304DB-26
Etilt Current | 1-2: 4; 3-4: 4; 5-6: 4; 7-8: 4; 1-2: 4; 3-4: 4
Etilt Found
Etilt New
External RET check
Feeder_Type Found
Feeder_Length Found
Jumpers length total
TMA Type Found
Combiner_Splitter Found
2nd_Combiner_Splitter Found
3rd_Combiner_Splitter Found
4th_Combiner_Splitter Found
Request_Remarks
Audit Remarks:
* Номерата на портовете на антената се определят като се гледа антената отзад от ляво на дясно според физическата подредба на портовете

## Sector 3
SO1589 | Sector 3
Antenna # | 1 | [5 empty] | 2 |  |  |  | 3
Azimuth Current | 260 | [5 empty] | 260
Azimuth found
Azimuth New
AntennaType current | AQU4518R25v18 | AQU4518R25v18 | AQU4518R25v18 | AQU4518R25v18 |  |  | ADU4521R0v06 | ADU4521R0v06
AntennaType found
AGL Current [m] | 27 | [5 empty] | 27
AGL Found [m]
ARTL Current | 0 | [5 empty] | 0
ARTL Found
MechanicalTilt Current | 1 | [5 empty] | 1
MechanicalTilt found
MechanicalTilt New
Antenna port # | 1-2 | 3-4 | 5-6 | 7-8 | 9-10 | 11-12 | 1-2 | 3-4 | 5-6 | 7-8 | 1-2 | 3-4 | 5-6
PortName | 1-2: Lr1; 3-4: Rr2; 5-6: Ly1; 7-8: Ly2; 1-2: Ly1; 3-4: Ry2
BandRange Current | 1-2: 690-960; 3-4: 690-960; 5-6: 1695-2690; 7-8: 1695-2690; 1-2: 1695-2690; 3-4: 1695-2690
Port occupancy
RRU_Type Current | 1-2: 5519etCD-9; 3-4: 5519etAB-9; 5-6: 5513AC-18; 7-8: 5513DB-18; 1-2: 5304AC-26; 3-4: 5304DB-26
Etilt Current | 1-2: 4; 3-4: 4; 5-6: 4; 7-8: 4; 1-2: 4; 3-4: 4
Etilt Found
Etilt New
External RET check
Feeder_Type Found
Feeder_Length Found
Jumpers length total
TMA Type Found
Combiner_Splitter Found
2nd_Combiner_Splitter Found
3rd_Combiner_Splitter Found
4th_Combiner_Splitter Found
Request_Remarks
Audit Remarks:
* Номерата на портовете на антената се определят като се гледа антената отзад от ляво на дясно според физическата подредба на портовете

## Sector 4 (hidden)
Sector 4
Antenna # | 1 | [5 empty] | 2 |  |  |  | 3
Azimuth Current
Azimuth found
Azimuth New
AntennaType current
AntennaType found
AGL Current [m]
AGL Found [m]
ARTL Current
ARTL Found
MechanicalTilt Current
MechanicalTilt found
MechanicalTilt New
Antenna port # | 1-2 | 3-4 | 5-6 | 7-8 | 9-10 | 11-12 | 1-2 | 3-4 | 5-6 | 7-8 | 1-2 | 3-4 | 5-6
PortName
BandRange Current
Port occupancy
RRU_Type Current
Etilt Current
Etilt Found
Etilt New
External RET check
Feeder_Type Found
Feeder_Length Found
Jumpers length total
TMA Type Found
Combiner_Splitter Found
2nd_Combiner_Splitter Found
3rd_Combiner_Splitter Found
4th_Combiner_Splitter Found
Request_Remarks
Audit Remarks:
* Номерата на портовете на антената се определят като се гледа антената отзад от ляво на дясно според физическата подредба на портовете

## Sector 5 (hidden)
Sector 5
Antenna # | 1 | [5 empty] | 2 |  |  |  | 3
Azimuth Current
Azimuth found
Azimuth New
AntennaType current
AntennaType found
AGL Current [m]
AGL Found [m]
ARTL Current
ARTL Found
MechanicalTilt Current
MechanicalTilt found
MechanicalTilt New
Antenna port # | 1-2 | 3-4 | 5-6 | 7-8 | 9-10 | 11-12 | 1-2 | 3-4 | 5-6 | 7-8 | 1-2 | 3-4 | 5-6
PortName
BandRange Current
Port occupancy
RRU_Type Current
Etilt Current
Etilt Found
Etilt New
External RET check
Feeder_Type Found
Feeder_Length Found
Jumpers length total
TMA Type Found
Combiner_Splitter Found
2nd_Combiner_Splitter Found
3rd_Combiner_Splitter Found
4th_Combiner_Splitter Found
Request_Remarks
Audit Remarks:
* Номерата на портовете на антената се определят като се гледа антената отзад от ляво на дясно според физическата подредба на портовете

## Sector 6 (hidden)
Sector 6
Antenna # | 1 | [5 empty] | 2 |  |  |  | 3
Azimuth Current
Azimuth found
Azimuth New
AntennaType current
AntennaType found
AGL Current [m]
AGL Found [m]
ARTL Current
ARTL Found
MechanicalTilt Current
MechanicalTilt found
MechanicalTilt New
Antenna port # | 1-2 | 3-4 | 5-6 | 7-8 | 9-10 | 11-12 | 1-2 | 3-4 | 5-6 | 7-8 | 1-2 | 3-4 | 5-6
PortName
BandRange Current
Port occupancy
RRU_Type Current
Etilt Current
Etilt Found
Etilt New
External RET check
Feeder_Type Found
Feeder_Length Found
Jumpers length total
TMA Type Found
Combiner_Splitter Found
2nd_Combiner_Splitter Found
3rd_Combiner_Splitter Found
4th_Combiner_Splitter Found
Request_Remarks
Audit Remarks:
* Номерата на портовете на антената се определят като се гледа антената отзад от ляво на дясно според физическата подредба на портовете

## Sector 7 (hidden)
Sector 7
Antenna # | 1 | [5 empty] | 2 |  |  |  | 3
Azimuth Current
Azimuth found
Azimuth New
AntennaType current
AntennaType found
AGL Current [m]
AGL Found [m]
ARTL Current
ARTL Found
MechanicalTilt Current
MechanicalTilt found
MechanicalTilt New
Antenna port # | 1-2 | 3-4 | 5-6 | 7-8 | 9-10 | 11-12 | 1-2 | 3-4 | 5-6 | 7-8 | 1-2 | 3-4 | 5-6
PortName
BandRange Current
Port occupancy
RRU_Type Current
Etilt Current
Etilt Found
Etilt New
External RET check
Feeder_Type Found
Feeder_Length Found
Jumpers length total
TMA Type Found
Combiner_Splitter Found
2nd_Combiner_Splitter Found
3rd_Combiner_Splitter Found
4th_Combiner_Splitter Found
Request_Remarks
Audit Remarks:
* Номерата на портовете на антената се определят като се гледа антената отзад от ляво на дясно според физическата подредба на портовете

## Sector 8 (hidden)
Sector 8
Antenna # | 1 | [5 empty] | 2 |  |  |  | 3
Azimuth Current
Azimuth found
Azimuth New
AntennaType current
AntennaType found
AGL Current [m]
AGL Found [m]
ARTL Current
ARTL Found
MechanicalTilt Current
MechanicalTilt found
MechanicalTilt New
Antenna port # | 1-2 | 3-4 | 5-6 | 7-8 | 9-10 | 11-12 | 1-2 | 3-4 | 5-6 | 7-8 | 1-2 | 3-4 | 5-6
PortName
BandRange Current
Port occupancy
RRU_Type Current
Etilt Current
Etilt Found
Etilt New
RET Found
Feeder_Type Found
Feeder_Length Found
Jumpers length total
TMA Type Found
Combiner_Splitter Found
2nd_Combiner_Splitter Found
3rd_Combiner_Splitter Found
4th_Combiner_Splitter Found
Request_Remarks
Audit Remarks:
* Номерата на портовете на антената се определят като се гледа антената отзад от ляво на дясно според физическата подредба на портовете

## Sector 9 (hidden)
Sector 9
Antenna # | 1 | [5 empty] | 2 |  |  |  | 3
Azimuth Current
Azimuth found
Azimuth New
AntennaType current
AntennaType found
AGL Current [m]
AGL Found [m]
ARTL Current
ARTL Found
MechanicalTilt Current
MechanicalTilt found
MechanicalTilt New
Antenna port # | 1-2 | 3-4 | 5-6 | 7-8 | 9-10 | 11-12 | 1-2 | 3-4 | 5-6 | 7-8 | 1-2 | 3-4 | 5-6
PortName
BandRange Current
Port occupancy
RRU_Type Current
Etilt Current
Etilt Found
Etilt New
External RET check
Feeder_Type Found
Feeder_Length Found
Jumpers length total
TMA Type Found
Combiner_Splitter Found
2nd_Combiner_Splitter Found
3rd_Combiner_Splitter Found
4th_Combiner_Splitter Found
Request_Remarks
Audit Remarks:
* Номерата на портовете на антената се определят като се гледа антената отзад от ляво на дясно според физическата подредба на портовете

## DataValidation (hidden)
CabinetType
APM30
OMB
TMC
VIRTUAL
pico 3911B
BTS3911E

## Combiners (hidden)
737304
737306
792542
793006
793525
793533
793554
6320627
7141775
78210246
78210249
78210500
78210504
78210525
78210526
78210532
78210534
78210620
78210621
78210623
78210631
78210640
78210641
78210681
78210805
78211110
86010017
86010018
86010019
86010101
86010103
86010105
86010136
ACOMD2A06v06
ACOMD2L13v06
DCB-2-04-64F-01
DCB-2BM-64F-02
HAT073843500S-03
MI20242
MI54642
MI21795
MI50542
None
Unknown

## RRUs (hidden)
3936-9
2x3936-9
3826
2x3826
3953-9
3953-18
3953-21
5905-9
5905-18
5905-21
5909-21
3953-18 3953-21
5905-18 5905-21
3953-18 5905-21
5905-18 3953-21
AAU
5304AC
5304DB
5513AC
5513DB
5519etAB
5519etCD
5515t
5513AC 5304AC
5513DB 5304DB
3953-18 3953-21 5304AC
3953-18 3953-21 5304DB
None

## Antennas (hidden)
2CPX208R-V3 | 790-960 | 790-960
2H-33A-R2 | 1695-2400 | 1695-2400
3X-V65S-C3-3XR | 1695-2690
5863903 | 880-960 | 1710-2170
5880903 | 880-960 | 1710-2170 | 1710-2170
5961300 | 1695-2690 | 698-960 | 1695-2690 | 698-960
5961400 | 698-960 | 698-960 | 1427-2690 | 1427-2690
5970300 | 1695-2690 | 698-960 | 1695-2690 | 1695-2690 | 698-960
5980300 | 1695-2690 | 1995-2690 | 698-960 | 1695-2690 | 1695-2690 | 698-960
5LPX1106F | 1710-2690 | 1710-2690 | 1710-2690 | 1710-2690 | 1710-2690
5NPX1006F | 1710-2180 | 1710-2180 | 1710-2180 | 1710-2180 | 1710-2180
732267 | 790-960
736347 | 870-960
736349 | 870-960
736350 | 870-960
736854 | 872-960
737190 | 1710-1880
738187 | 1710-1880
738445 | 824-960/1710-2170
738446 | 824-960/1710-2170
738447 | 694-960/1710-2690
738448 | 694-960/1710-2690
738449 | 870-960/1710-1880
738454 | 1710-2200
739489 | 1710-2170
739495 | 1700-1990
739496 | 1710-1990
739620 | 806-960
739622 | 806-960
739623 | 806-960
739624 | 806-960
739630 | 870-960
739632 | 806-960
739636 | 806-960
739637 | 806-960
739638 | 824-960
739640 | 806-960
739649 | 806-960
739650 | 806-960
739685 | 806-960
739686 | 806-960
739695 | 1700-1990
741322 | 870-960/1710-1880
741717 | 870-960
741718 | 870-960
741785 | 870-960
741794 | 1710-2170
742047 | 870-960/1710-1880
742149 | 824-960/1710-2170
742192 | 806-2170
742192V01 | 790-2690
742192V02 | 690-2690
742210 | 1710-2170
742210V01 | 1710-2170
742211 | 1710-2170
742215 | 1710-2200
742222V01 | 790-960/1710-2170
742224 | 824-960/1710-2180
742225 | 1710-2180 | 824-960
742241 | 1710-2170 | 824-960 | 1710-2170
742264V02 | 1710-2180 | 790-960
742265 | 1710-2170 | 824-960
742265V02 | 1710-2180 | 790-960
742266 | 824-960 | 1710-2180
742266V00 | 1710-2180 | 790-960
742266V01 | 1710-2180 | 790-960
742266v02 | 1710-2180 | 790-960
742270 | 1710-1880 | 806-960 | 1920-2170
742270v03 | 1920-2170 | 1710-1880 | 790-960
742271 | 1710-1880 | 806-960 | 1920-2170
742271V03 | 1920-2170 | 1710-1880 | 790-960
742272 | 1710-1880 | 806-960 | 1920-2170
742290 | 824-960/1710-2170
80010123 | 1710-2180 | 790-960
80010123v03 | 1710-2180 | 790-960
80010125 | 1710-2690
80010173 | 876-960/1710-2500
80010204 | 806-960
80010248 | 806-960/1710-2500
80010249 | 790-960/1425-3800/5150-6000
80010274 | 870-960 | 1920-2170
80010291V01 | 1710-2180 | 790-960 | 1710-2180
80010292 | 806-960 | 1710-2180 | 1710-2180
80010292V01 | 790-960 | 1710-2180 | 1710-2180
80010292V02 | 790-960 | 1710-2180 | 1710-2180
80010292V03 | 1710-2180 | 1710-2180 | 790-960
80010302 | 806-960
80010303 | 806-960
80010303V02 | 790-960
80010306v02 | 790-960
80010307 | 790-960
80010307V01 | 790-960
80010360 | 1710-2170
80010368 | 1710-2180
80010375 | 1710-2170
80010454 | 806-960/1710-2180
80010456 | 806-960
80010456V02 | 790-960
80010465 | 790-960/1710-2700
80010492 | 1710-2180 | 806-960 | 1710-2180
80010516 | 824-960
80010517 | 824-960 | 824-960
80010517V01 | 824-960 | 824-960
80010622 | 1710-2690
80010634V01 | 790-960
80010656 | 1695-2690 | 1695-2690
80010658 | 870-960/1710-2170
80010665 | 1710-2690 | 790-960
80010665V01 | 1710-2690 | 790-960
80010666V01 | 698-960 | 1710-2690
80010677 | 790-960/1710-2170
80010681 | 1710-2690
80010682 | 1710-2690 | 1710-2690
80010691 | 1710-2690 | 1710-2690 | 790-960
80010691V01 | 698-960 | 1710-2690 | 1710-2690
80010692 | 1710-2690 | 1710-2690 | 790-960
80010692V01 | 698-960 | 1710-2690 | 1710-2690
80010710 | 790-960/1710-2700
80010748 | 876-960/1710-2700
80010761 | 1710-2690
80010776 | 698-960 | 1695-2690
80010825 | 1710-2180 | 790-960 | 1710-2180 | 790-960
80010826 | 1710-2180 | 790-960 | 1710-2180 | 790-960
80010828 | 790-960/1710-2700
80010828V01 | 790-960/1710-2700
80010864 | 689-960 | 1695-2690 | 1695-2690
80010865 | 698-960 | 1695-2690 | 1695-2690
80010892V01 | 698-960 | 1710-2690 | 1710-2690 | 1710-2690 | 1710-2690
80010899 | 698-862 | 880-960 | 1710-2690 | 1710-2690 | 1710-2690 | 1710-2690
80010991 | 1695-2690 | 1695-2690 | 698-960 | 698-960 | 1695-2690 | 1695-2690
80010992 | 698-960 | 698-960 | 1695-2690 | 1695-2690 | 1695-2690 | 1695-2690
80020872 | 698-960 | 1695-2690 | 1695-2690 | 1695-2690
80020892 | 698-960 | 1695-2690 | 1695-2690 | 1695-2690 | 1695-2690
80020899 | 698-862 | 880-960 | 1698-2690 | 1698-2690 | 1698-2690 | 1698-2690
A104521R0v06 | 690-960 | 690-960 | 1695-2690 | 1427-2690 | 1427-2690 | 1695-2690 | 2300-3800
A104521R0v06_NR | 690-960 | 690-960 | 1695-2690 | 1427-2690 | 1427-2690 | 1695-2690 | 2300-3800
A19452101 | 1710-2170
AAU3940 | 1710-1880/1920-2170
AAU5339W | 3400-3800
AAU5613 | 3400-3600/3600-3800
AAU5639 | 3400-3800
AAU5639W | 3600-3800
ADU451602v01 | 1710-2180 | 790-960
ADU4517R6v06 | 690-960 | 690-960
ADU4518R7v06 | 690-960 | 1710-2690
ADU4521R0v06 | 1695-2690 | 1695-2690
AMB4519R13v06 | 690-960 | 690-960 | 1695-2690 | 1695-2690 | 1695-2690 | 1695-2690
AOC4518R0v06 | 880-960 | 690-862 | 1695-2690 | 1427-2690 | 1695-2690 | 690-960 | 1695-2690 | 1695-2690
AOC4518R6v06 | 690-960 | 690-960 | 1695-2690 | 1695-2690 | 1427-2690 | 1427-2690 | 1695-2690 | 1695-2690
APE4516R1v06 | 1695-2690 | 1695-2690 | 690-960 | 1695-2690 | 1695-2690
AQU4518R24v06 | 690-960 | 690-960 | 1695-2690 | 1695-2690
AQU4518R24v18 | 690-960 | 690-960 | 1695-2690 | 1695-2690
AQU4518R25 | 1695-2690 | 690-960 | 690-960 | 1695-2690
AQU4518R25v06 | 1695-2690 | 690-960 | 690-960 | 1695-2690
AQU4518R25v18 | 690-960 | 690-960 | 1695-2690 | 1695-2690
AQU4518R4v06 | 790-862 | 880-960 | 1710-2690 | 1710-2690
AQU4518R9v06 | 690-960 | 1695-2690 | 1695-2690 | 1695-2690
ASI4517R3v06 | 1695-2690 | 1695-2690 | 690-960 | 1695-2690 | 1695-2690 | 590-960
ASI4517R3v18 | 690-960 | 690-960 | 1695-2690 | 1695-2690 | 1695-2690 | 1695-2690
ASI4518R10v06 | 1695-2690 | 1695-2690 | 690-960 | 1695-2690 | 1695-2690 | 690-960
ASI4518R10v18 | 690-960 | 690-960 | 1695-2690 | 1695-2690 | 1695-2690 | 1695-2690
ASI4518R20v06 | 690-960 | 690-960 | 1695-2690 | 1695-2690 | 1695-2690 | 1695-2690
ASI4518R32v06 | 1695-2200 | 2490-2690 | 690-862 | 1695-2690 | 1427-2690 | 880-960
ASI4518R33v06 | 1695-2200 | 2490-2690 | 690-862 | 1695-2690 | 1427-2690 | 880-960
ASI4518R36v06 | 690-960 | 690-960 | 1427-2690 | 1427-2690 | 1695-2690 | 1695-2690
ASI4518R39v06 | 690-960 | 1427-2690 | 1695-2690 | 1695-2690 | 1427-2690 | 690-960
ASPJ 810 Yagi | 870-960
ATD4516R8v07 | 3300-3800 | 3300-3800 | 3300-3800 | 3300-3800
ATR451806 | 690-960 | 1710-2690 | 1710-2690
ATR4518R11v06 | 1695-2690 | 690-960 | 1695-2690
ATR4518R13v06 | 1695-2690 | 690-960 | 1695-2690
ATR4518R6 | 690-960 | 1710-2690 | 1710-2690
ATR4518R6v06 | 1695-2690 | 690-960 | 1695-2690
B08_0868 | NOVAL
BTS3911E | 1710-1880 | 1920-2170
CELLMAX-D-CPUSE-O | 698-960/1710-2700
CMA_3324 | 1710-2170
CMA_BDHH_6521_E0-6 | 1710-2180 | 1710-2180
CMA_BTHH_3324_E0-6 | 1710-2180 | 1710-2180
CMA_BTLBHH_6517 | 1710-2180 | 790-960 | 1710-2180
CMA_UBDHH_6521_E1-10 | 1710-2690 | 1710-2690
CMA_UBDHHH_6521_E1-10 | 1710-2690 | 1710-2690 | 1710-2690
CMA_UBTLBHH_6517_21_21 | 698-960 | 1695-2690 | 1695-2690
CMAB_3324_E0-6 | 1710-2180
CMAB_6519 | 1710-2180
CMAB_6520 | 1710-2170
CMAB_6521 | 1710-2170
CMAB_6521_E0-6 | 1710-2170
CMABDHH_6519_E0-8 | 1710-2170 | 1710-2170
CMA-TRI6515 | 1710-2170
CMA-TRI6515_correct | 1710-2170
CMA-UBTLBHH_6516_21_21 | 1695-2690 | 698-960 | 1695-2690
CMA-UBTLBHH_6517_21_21_OLD | 1695-2690 | 698-960 | 1695-2690
CMMG-7-60-NJ | 698-960/1710-6000
CVV2NPX308.208R | 790-960 | 1695-2180 | 1695-2180 | 1695-2690 | 1695-2690
DAS | 690-2690
DB842H35E-SY | 870-960
DBXLH-6565C-VTM | 824-960 | 1710-2160
ECOMS290 | 1710-2170 | 806-960 | 1710-2170
ECOMS291 | 1710-2170 | 790-960 | 1710-2170
ECOMS692V01 | 689-960 | 1710-2690 | 1710-2690
ECOMS892 | 698-960 | 1695-2690 |  | 1695-2690 |  | 1695-2690 | 1695-2690
ECOPB892 | 698-960 | 1695-2690 | 1695-2690 | 1695-2690 | 1695-2690
ECOTB291V02 | 1710-2180 | 790-960 | 1710-2180
ECOTB292V03 | 1710-2180 | 1710-2180 | 790-960
ECOTB692V01 | 698-960 | 1710-2690 | 1710-2690
ECOUB644V01 | 1710-2170 | 2490-2690
GL_A26451800v01 | 1710-2690
GL_A79451700v02 | 790-960
GL_ADU451712 | 1710-2690 | 790-960
GL_ADU451807v01 | 1710-2180 | 790-960
GL_ATR451602v06 | 1710-2180 | 1710-2180 | 790-960
GL_ATR451607 | 1710-2690 | 790-960 | 1710-2690
GL_ATR451704v01 | 1710-2180 | 1710-2180 | 790-960
GL_ATR451704v06 | 1710-2180 | 1710-2180 | 790-960
Jaybeam_5363603 | 790-960 | 1710-2180
Jaybeam_5363802 | 790-960 | 1710-2180
Jaybeam_5363803 | 880-960 | 1710-2170
K741336 | 870-960/1710-1880
LBX-6516DS-VMT | 790-960
MCIN | 1710-2170
NANO | 1710-2170
Pico3911B | 1710-2170
PW6517 | 824-960 | 1710-2170 | 824-960 | 1710-2170
PW7465 | 806-960 | 806-960
PW7755 | 824-960 | 1710-2170
PW7782 | 1710-2170 | 824-960 | 1710-2170
PW7785 | 1710-2170 | 1710-2170 | 824-960
RRV4-65D-R6 | 694-960 | 694-960 | 1695-2690 | 1695-2690 | 1695-2690 | 1695-2690
RRZZHHTT-65D-R6 | 694-960 | 694-960 | 1695-2180 | 1695-2180 | 2490-2690 | 1427-2690 | 2490-2690 | 1427-2690
RVV2NPX310.211R | 694-960 | 1695-2180 | 1695-2180 | 1695-2690 | 1695-2690
SSC-760244562 | 694-960 | 1695-2690 | 1695-2690 | 1695-2690 | 1695-2690
SSC-760245803 | 694-960 | 1695-2690 | 1695-2690 | 1695-2690 | 1695-2690
TBXLHA-6565C | 824-960 | 1710-2180 | 1710-2180
TDQ-809017 | 1710-2170 | 824-960 | 1710-2170 | 824-960
TNA660A10 | 790-960 | 1710-2170 | 1710-2170
TNA670A10 | 790-960 | 1710-2170 | 1710-2170
TNA990A10Rx | 698-960 | 698-960 | 1710-2690 | 1710-2690 | 1710-2690 | 1710-2690
Tong 8 | 1710-2170 | 806-960 | 1710-2170 | 806-960
TTB-Q9017 | 1710-1880 | 870-960 | 1710-1880 | 870-960 | 1920-2170
V360QS-C3-3XR | 1695-2690
V65S-C3-1XR | 1695-2690
VV-65B-R1B | 1695-2690 | 1695-2690
W360-17-x | 1710-2170

## AntennasPortName (hidden)
2CPX208R-V3 | R1 | +27deg | R2 | -27deg
2H-33A-R2 | Y2 | +27deg | Y1 | -27deg
3X-V65S-C3-3XR | NOVAL
5863903 | NOVAL | NOVAL
5880903 | NOVAL | NOVAL | NOVAL
5961300 | Y2 | R2 | Y1 | R1
5961400 | R1 | R2 | Y1 | Y2
5970300 | Y3 | R2 | Y2 | Y1 | R1
5980300 | Y4 | Y3 | R2 | Y2 | Y1 | R1
5LPX1106F | +30deg | +15deg | 0deg | -15deg | -30deg
5NPX1006F | NOVAL | NOVAL | NOVAL | NOVAL | NOVAL
732267 | NOVAL
736347 | NOVAL
736349 | NOVAL
736350 | NOVAL
736854 | NOVAL
737190 | NOVAL
738187 | NOVAL
738445 | NOVAL
738446 | NOVAL
738447 | NOVAL
738448 | NOVAL
738449 | NOVAL
738454 | NOVAL
739489 | NOVAL
739495 | NOVAL
739496 | NOVAL
739620 | NOVAL
739622 | NOVAL
739623 | NOVAL
739624 | NOVAL
739630 | NOVAL
739632 | NOVAL
739636 | NOVAL
739637 | NOVAL
739638 | NOVAL
739640 | NOVAL
739649 | NOVAL
739650 | NOVAL
739685 | NOVAL
739686 | NOVAL
739695 | NOVAL
741322 | NOVAL
741717 | NOVAL
741718 | NOVAL
741785 | NOVAL
741794 | NOVAL
742047 | NOVAL
742149 | NOVAL
742192 | NOVAL
742192V01 | NOVAL
742192V02 | NOVAL
742210 | NOVAL
742210V01 | NOVAL
742211 | NOVAL
742215 | NOVAL
742222V01 | NOVAL
742224 | NOVAL
742225 | NOVAL | NOVAL
742241 | NOVAL | NOVAL | NOVAL
742264V02 | NOVAL | NOVAL
742265 | NOVAL | NOVAL
742265V02 | NOVAL | NOVAL
742266 | NOVAL | NOVAL
742266V00 | NOVAL | NOVAL
742266V01 | NOVAL | NOVAL
742266v02 | NOVAL | NOVAL
742270 | NOVAL | NOVAL | NOVAL
742270v03 | NOVAL | NOVAL | NOVAL
742271 | NOVAL | NOVAL | NOVAL
742271V03 | NOVAL | NOVAL | NOVAL
742272 | NOVAL | NOVAL | NOVAL
742290 | NOVAL
80010123 | NOVAL | NOVAL
80010123v03 | NOVAL | NOVAL
80010125 | NOVAL
80010173 | NOVAL
80010204 | NOVAL
80010248 | NOVAL
80010249 | NOVAL
80010274 | NOVAL | NOVAL
80010291V01 | NOVAL | NOVAL | NOVAL
80010292 | NOVAL | NOVAL | NOVAL
80010292V01 | NOVAL | NOVAL | NOVAL
80010292V02 | NOVAL | NOVAL | NOVAL
80010292V03 | NOVAL | NOVAL | NOVAL
80010302 | NOVAL
80010303 | NOVAL
80010303V02 | NOVAL
80010306v02 | NOVAL
80010307 | NOVAL
80010307V01 | NOVAL
80010360 | NOVAL
80010368 | NOVAL
80010375 | NOVAL
80010454 | NOVAL
80010456 | NOVAL
80010456V02 | NOVAL
80010465 | NOVAL
80010492 | NOVAL | NOVAL | NOVAL
80010516 | NOVAL
80010517 | NOVAL | NOVAL
80010517V01 | NOVAL | NOVAL
80010622 | NOVAL
80010634V01 | NOVAL
80010656 | Y1 | Y2
80010658 | NOVAL
80010665 | NOVAL | NOVAL
80010665V01 | Y1 | R1
80010666V01 | R1 | Y1
80010677 | NOVAL
80010681 | NOVAL
80010682 | Y1 | Y2
80010691 | NOVAL | NOVAL | NOVAL
80010691V01 | R1 | Y1 | Y2
80010692 | NOVAL | NOVAL | NOVAL
80010692V01 | R1 | Y1 | Y2
80010710 | NOVAL
80010748 | NOVAL
80010761 | NOVAL
80010776 | NOVAL | NOVAL
80010825 | NOVAL | NOVAL | NOVAL | NOVAL
80010826 | B2 | R2 | B1 | R1
80010828 | NOVAL
80010828V01 | NOVAL
80010864 | R1 | Y2 | Y1
80010865 | R1 | Y1 | Y2
80010892V01 | R1 | Y1 | Y2 | Y3 | Y4
80010899 | R1 | R2 | Y1 | Y2 | Y3 | Y4
80010991 | Y3 | Y4 | R2 | R1 | Y1 | Y2
80010992 | R1 | R2 | Y1 | Y2 | Y3 | Y4
80020872 | R1 | Y1 | Y2 | Y3
80020892 | R1 | Y1 | Y2 | Y3 | Y4
80020899 | R1 | R2 | Y1 | Y2 | Y3 | Y4
A104521R0v06 | Lr1 | Rr2 | Ly1 | CLy2 | CRy3 | Ry4 | p1
A104521R0v06_NR | Lr1 | Rr2 | Ly1 | CLy2 | CRy3 | Ry4 | p1
A19452101 | R1: NOVAL
AAU3940 | R1: NOVAL
AAU5339W | R1: NOVAL
AAU5613 | R1: NOVAL
AAU5639 | R1: NOVAL
AAU5639W | R1: NOVAL
ADU451602v01 | R1: NOVAL; R2: NOVAL
ADU4517R6v06 | R1: Lr1; R2: Rr2
ADU4518R7v06 | bar: R1 to R2
ADU4521R0v06 | R1: Ly1; R2: Ry2
AMB4519R13v06 | r1 | r2 | y1 | y2 | y3 | y4
AOC4518R0v06 | Lr2 | Lr1 | LBy1 | Cy3 | RBy4 | Rr3 | RTy5 | LTy2
AOC4518R6v06 | Lr1 | Rr2 | LBy1 | LTy2 | LBy3 | CTy4 | RBy5 | LTy6
APE4516R1v06 | RBy4 | RTy3 | r1 | LTy2 | LBy1
AQU4518R24v06 | Lr1: Lr1; Rr2: Rr2; LBy1: Ly1; LTy2: Ry2
AQU4518R24v18 | Lr1: Lr1; Rr2: Rr2; LBy1: Ly1; LTy2: Ry2
AQU4518R25 | Lr1: NOVAL; Rr2: NOVAL; LBy1: NOVAL; LTy2: NOVAL
AQU4518R25v06 | Lr1: Ry2; Rr2: Rr2; LBy1: Lr1; LTy2: Ly1
AQU4518R25v18 | Lr1: Lr1; Rr2: Rr2; LBy1: Ly1; LTy2: Ly2
AQU4518R4v06 | Lr1: r; Rr2: rr; LBy1: yL; LTy2: yyR
AQU4518R9v06 | Lr1: r1; Rr2: Rby3; LBy1: RTy2; LTy2: Ly1
ASI4517R3v06 | LBy1 | LTy2 | Lr1 | RTy4 | RBy3 | Rr2
ASI4517R3v18 | Lr1 | Rr2 | LBy1 | LTy2 | RBy3 | RTy4
ASI4518R10v06 | LTy2 | LBy1 | Lr1 | RBy3 | RTy4 | Rr2
ASI4518R10v18 | Lr1 | Rr2 | LBy1 | LTy2 | RBy3 | RTy4
ASI4518R20v06 | Lr1 | Rr2 | LBy1 | LTy2 | RBy3 | RTy4
ASI4518R32v06 | b1 | Ly1 | r1 | Cy2 | Cy3 | r2
ASI4518R33v06 | b1 | Ly1 | r1 | Cy2 | Ry3 | r2
ASI4518R36v06 | Lr1 | Rr2 | LBy1 | LTy2 | RBy3 | RTy4
ASI4518R39v06 | Lr1 | Ly1 | CLy2 | CRy3 | Ry4 | Rrr2
ASPJ 810 Yagi | Lr1: NOVAL
ATD4516R8v07 | p1R | p1CR | p1CL | p1L
ATR451806 | Lr1: r; Rr2: yL; LBy1: yyR
ATR4518R11v06 | Lr1: Ry2; Rr2: r1; LBy1: Ly1
ATR4518R13v06 | Lr1: Ry2; Rr2: r1; LBy1: Ly1
ATR4518R6 | Lr1: r; Rr2: yL; LBy1: yyR
ATR4518R6v06 | Lr1: Ly1; Rr2: r1; LBy1: Ry2
B08_0868 | Lr1: NOVAL
BTS3911E | Lr1: NOVAL; Rr2: NOVAL
CELLMAX-D-CPUSE-O | Lr1: NOVAL
CMA_3324 | Lr1: NOVAL
CMA_BDHH_6521_E0-6 | Lr1: NOVAL; Rr2: NOVAL
CMA_BTHH_3324_E0-6 | Lr1: NOVAL; Rr2: NOVAL
CMA_BTLBHH_6517 | Lr1: Ant2; Rr2: Ant0; LBy1: Ant1
CMA_UBDHH_6521_E1-10 | Lr1: NOVAL; Rr2: NOVAL
CMA_UBDHHH_6521_E1-10 | Lr1: NOVAL; Rr2: NOVAL; LBy1: NOVAL
CMA_UBTLBHH_6517_21_21 | Lr1: R1; Rr2: Y1; LBy1: Y2
CMAB_3324_E0-6 | Lr1: NOVAL
CMAB_6519 | Lr1: NOVAL
CMAB_6520 | Lr1: NOVAL
CMAB_6521 | Lr1: NOVAL
CMAB_6521_E0-6 | Lr1: NOVAL
CMABDHH_6519_E0-8 | Lr1: NOVAL; Rr2: NOVAL
CMA-TRI6515 | Lr1: NOVAL
CMA-TRI6515_correct | Lr1: NOVAL
CMA-UBTLBHH_6516_21_21 | Lr1: ANT2; Rr2: ANT0; LBy1: ANT1
CMA-UBTLBHH_6517_21_21_OLD | Lr1: Y2; Rr2: R1; LBy1: Y1
CMMG-7-60-NJ | Lr1: NOVAL
CVV2NPX308.208R | R1 | B1(+30deg) | B2(-30deg) | Y1 | Y2
DAS | Lr1: NOVAL
DB842H35E-SY | Lr1: NOVAL
DBXLH-6565C-VTM | bar: Lr1 to Rr2
ECOMS290 | Lr1: NOVAL; Rr2: NOVAL; LBy1: NOVAL
ECOMS291 | Lr1: NOVAL; Rr2: NOVAL; LBy1: NOVAL
ECOMS692V01 | Lr1: R1; Rr2: Y1; LBy1: Y2
ECOMS892 | R1 | Y1 | Y2 | Y3 | Y4
ECOPB892 | R1 | Y1 | Y2 | Y3 | Y4
ECOTB291V02 | Lr1: NOVAL; Rr2: NOVAL; LBy1: NOVAL
ECOTB292V03 | Lr1: NOVAL; Rr2: NOVAL; LBy1: NOVAL
ECOTB692V01 | Lr1: R1; Rr2: Y1; LBy1: Y2
ECOUB644V01 | bar: Lr1 to Rr2
GL_A26451800v01 | Lr1: NOVAL
GL_A79451700v02 | Lr1: NOVAL
GL_ADU451712 | Lr1: NOVAL; Rr2: NOVAL
GL_ADU451807v01 | Lr1: NOVAL; Rr2: NOVAL
GL_ATR451602v06 | Lr1: NOVAL; Rr2: NOVAL; LBy1: NOVAL
GL_ATR451607 | Lr1: NOVAL; Rr2: NOVAL; LBy1: NOVAL
GL_ATR451704v01 | Lr1: NOVAL; Rr2: NOVAL; LBy1: NOVAL
GL_ATR451704v06 | Lr1: Top; Rr2: Bottom; LBy1: NOVAL
Jaybeam_5363603 | Lr1: NOVAL; Rr2: NOVAL
Jaybeam_5363802 | Lr1: NOVAL; Rr2: NOVAL
Jaybeam_5363803 | Lr1: NOVAL; Rr2: NOVAL
K741336 | Lr1: NOVAL
LBX-6516DS-VMT | Lr1: NOVAL
MCIN | Lr1: NOVAL
NANO | Lr1: NOVAL
Pico3911B | Lr1: NOVAL
PW6517 | NOVAL | NOVAL | NOVAL | NOVAL
PW7465 | Lr1: NOVAL; Rr2: NOVAL
PW7755 | Lr1: NOVAL; Rr2: NOVAL
PW7782 | Lr1: NOVAL; Rr2: NOVAL; LBy1: NOVAL
PW7785 | Lr1: NOVAL; Rr2: NOVAL; LBy1: NOVAL
RRV4-65D-R6 | R1 | R2 | Y1 | Y2 | Y3 | Y4
RRZZHHTT-65D-R6 | R1 | R2 | B1 | B2 | Y1 | Y2 | Y3 | Y4
RVV2NPX310.211R | R1 | B1(+30deg) | B2(-30deg) | Y1 | Y2
SSC-760244562 | R1 | Y1 | BL | Y2 | TL | Y3 | BR | Y4 | TR
SSC-760245803 | R1 | Y1 | BL | Y2 | TL | Y3 | BR | Y4 | TR
TBXLHA-6565C | R1 R1: NOVAL; R2 R2: NOVAL; Y1 B1: NOVAL
TDQ-809017 | R1 R1: NOVAL; R2 R2: NOVAL; Y1 B1: NOVAL; Y2 B2: NOVAL
TNA660A10 | R1 R1: R1; R2 R2: B1; Y1 B1: B2
TNA670A10 | R1 R1: R1; R2 R2: B1; Y1 B1: B2
TNA990A10Rx | R1 | R2 | Y1 | Y2 | Y3 | Y4
Tong 8 | NOVAL | NOVAL | NOVAL | NOVAL
TTB-Q9017 | NOVAL | NOVAL | NOVAL | NOVAL | NOVAL
V360QS-C3-3XR | R1: NOVAL
V65S-C3-1XR | R1: NOVAL
VV-65B-R1B | bar: R1 to R2
W360-17-x | R1: NOVAL